**Computer**

* iMac (Apple)
* Mini DisplayPort to VGA Adapter (Apple)

**Relay**

* 2-Channel RS-232 10-Amp SPDT Relay Controller with RS-232 Interface (National Control Devices)

|  |
| --- |
| * POWER: 12VDC Adapter (National Control Devices) |
| * USB to RS-232 Serial Adapter Compatible with PC/MAC and NCD Devices (National Control Devices) |
| * Silver Project Box (Radio Shack) |
| * Barrier Strip / Wires / Connectors |

**Touchscreen**

|  |
| --- |
| * 15’’ Carroll Touch, touch screen P/N # E71023-001 (ELOTouch /PenTech) |
| * A47654-000 Data Cable (ELOTouch /PenTech) |
| * E053303 USB Controller (ELOTouch /PenTech) |

